This Hot Work Permit is required for any operation involving open flames or producing heat and/ or sparks and must be completed by the contractor/ employee and submitted to Property Management for approval prior to conducting the work.  This permit must be posted in the work area.  Hot work includes, but is not limited to: brazing, torch cutting, grinding, soldering and welding, etc.

Note: Hot work cannot be conducted unless the required precautions checklist can be met.

| HOT WORK TO BE COMPLETED BY: |
| --- |
| Contractor (Specify name of company) | TUCKER HI-RISE CONSTRUCTION INC. Employee |
| DATE: |
| AREA OF WORK: |
| DESCRIPTION OF WORK: |
| DURATION OF WORK: |
| WORK HAZARDS/ PRECAUTIONS: |
| PERSON CONDUCTING THE WORK(name): |
| I verify that the above work area has been examined, the precautions checked on the Required Precautions Checklist have been taken to prevent fire, and permission is authorized for the above person to conduct the required work. |
| Name of Person Supervising the Work: |
| Signature of Person Supervising the Work: |
| PERMIT ISSUED | DATE | TIME AM PM |
| PERMIT EXPIRES | DATE | TIME AM PM |
| Property Management Approval: |
| Name: Initials: |

REQUIRED PRECAUTIONS CHECKLIST

Available sprinklers, hose streams, and extinguishers are in service/ operable.

Hot work equipment is in good repair.

Proper shielding and eye protection to prevent exposure from hot work hazards are available.

Requirements within 35 feet of work area

Flammable liquids, dust, lint and oil deposits are removed.

Explosive atmosphere in area is eliminated.

Floors are swept free of combustibles.

Combustible floors are wet down and covered with damp sand or fire-resistant sheets.

Remove other combustibles where possible.  Otherwise protect with fire-resistant tarpaulins, screens or shields.

All wall and floor openings are covered.

Fire-resistant tarpaulins suspended beneath elevated hot work.

Work on walls or ceilings/ enclosed equipment

Construction is non-combustible and without combustible covering or insulation.

Combustibles on other side of walls moved away.

No danger exists by conduction of heat into another room or area.

Enclosed equipment cleaned of all combustibles.

Containers purged of flammable liquids and vapours.

Fire watch/ hot work area monitoring

Fire watch will be provided during and continuously for 30 minutes after work, including during any work breaks.

Fire watch is supplied with suitable extinguishers.

Fire watch is trained in use of this equipment and in sounding alarm.

Fire watch may be required for adjoining areas, above and below.

Hot work area inspected 30 minutes after job is complete and 2 hours after that.

Other Precautions to be taken

Confined Space/ Lockout Procedures required.

Area is protected with smoke or heat detection.

Ample ventilation to remove smoke/ vapour from work area.